**Disinfection procedure and room ventilation**

1. Open the windows for room ventilation;
2. Turn on the floor standing fan at the door;
3. Close both the tanks;
4. Proceed to the disinfection of the tanks:
   1. Spray all the exterior superficies of both tanks with the disinfectant;
   2. Leave it until it dries, or you can dry it after 30 sec of actuation;
5. Proceed to the disinfection of the cables, of the Biosignalsplux Explorer hub, of the blood pressure cuff, protection visors and used pens*:*
   1. Spray all the cables and the HUB superficies of both tanks with the disinfect;
   2. Place the cables and the Hub in the box “disinfected material”;
   3. Leave it until it dries, or you can dry it after 30 sec of actuation;
6. Proceed to the disinfection of the box “material to be disinfected”:
   1. Spray the interior and exterior superficies of the box with the disinfectant;
   2. Leave it until it dries, or you can dry it after 30 sec of actuation;
7. Proceed to the disinfection of the chair, desks and pens:
   1. Spray the all the superficies of chair and desks the disinfectant;
   2. Leave it until it dries, or you can dry it after 30 sec of actuation;
8. Turn off the floor standing fan and proceed to its disinfection:
   1. Spray the all the superficies of chair and desks the disinfectant;
   2. Leave it until it dries, or you can dry it after 30 sec of actuation;
   3. Place floor standing fan outside the room
9. Proceed to the disinfection of the door handles:
   1. Spray the all the superficies of chair and desks the disinfectant;
   2. Leave it until it dries, or you can dry it after 30 sec of actuation;
10. Place green identifiers in the disinfected areas/places/objects;

**Material that need to be disinfected**

1. Exterior of both the tanks
2. Cables, Biosignalsplux Explorer hub, Blood Pressure cuff and protection visors
3. Box “material to be disinfected”
4. Chair and desks
5. Pens
6. Floor standing fan
7. Door handles